| ## Form A3-3 – Installation Notification Form for Small Generation Installation Procedure 1 This form is to be used for the notification to the DNO of Generating Units installed and commissioned under Small Generation Installation Procedure 1 and where the eligibility conditions are met: - The new and existing Generating Units are located in a single Generator’s Installation; - The Intrinsic Design Capacity of each new and existing Generating Unit is no more than 32 A per phase; - The Registered Capacity of each new or existing Generating Unit is no more than 16 A per phase; - All of the Generating Units (including Electricity Storage devices) are connected via EREC G98 or EREC G99 Fully Type Tested Inverters;32; and - The total aggregate Registered Capacities of all the Generating Units (including Electricity Storage devices) is less than 16 A per phase; DNOs may have their own forms; refer to the DNO’s websites and online application tools. The application should include the Manufacturer’s reference number (the system reference) from the ENA Type Test Register. On completion of the installation the Installer shall submit this form A3-3, alongside an application for the removal of the limitation on the appropriate EREC G99 forms (if permission is being sought for the removal of the limitation at the same time as submitting this notification). Please complete and provide this document for each premises, once the installation is complete. |  |
| --- | --- |
| To ABC electricity distribution DNO 99 West St, Imaginary Town, ZZ99 9AA abced@wxyz.com |  |
| Customer details: |  |
| Customer (name) |  |
| Address |  |
| Post Code |  |
| Contact person (if different from Customer) |  |
| Telephone number |  |
| E-mail address |  |

—————————

- Or Type Tested to EREC G83 or G59 where the Generating Unit was connected prior to 27 April 2019.

| Customer signature |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Installer details: |  |  |  |  |  |  |  |  |  |  |
| Installer |  |  |  |  |  |  |  |  |  |  |
| Accreditation / Qualification |  |  |  |  |  |  |  |  |  |  |
| Address |  |  |  |  |  |  |  |  |  |  |
| Post Code |  |  |  |  |  |  |  |  |  |  |
| Contact person |  |  |  |  |  |  |  |  |  |  |
| Telephone Number |  |  |  |  |  |  |  |  |  |  |
| E-mail address |  |  |  |  |  |  |  |  |  |  |
| Installer signature |  |  |  |  |  |  |  |  |  |  |
| Installation details |  |  |  |  |  |  |  |  |  |  |
| Address |  |  |  |  |  |  |  |  |  |  |
| Post Code |  |  |  |  |  |  |  |  |  |  |
| MPAN(s) |  |  |  |  |  |  |  |  |  |  |
| Location within Customer’s Installation |  |  |  |  |  |  |  |  |  |  |
| Location of Lockable Isolation Switch |  |  |  |  |  |  |  |  |  |  |
| Details of Generating Units. Use a separate line for new and existing installations and for different technology types. Use PH 1 column for single phase supply. |  |  |  |  |  |  |  |  |  |  |
| Manufacturer | Date of Installation | Energy source and energy conversion technology (enter codes from tables 1 and 2 below) |  |  | Manufacturer‘s Ref No (this number should be registered on the ENA Type Test Register as the system reference) | Generating Unit capacities in kW |  |  |  | Energy storage capacity for Electricity Storage devices (kWh) |
|  |  |  |  |  |  | 3- Phase Units | Single Phase Units |  |  |  |
|  |  | Src | Tech |  |  |  | PH1 | PH2 | PH3 |  |
|  |  |  |  |  |  | Intrinsic Design Capacity (kW)* |  |  |  |  |
|  |  |  |  |  |  | Registered Capacity (kW)* |  |  |  |  |
|  |  |  |  |  |  | Intrinsic Design Capacity (kW) |  |  |  |  |

|  |  |  |  |  | Registered Capacity (kW) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Intrinsic Design Capacity (kW) |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Registered Capacity (kW) |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Intrinsic Design Capacity (kW) |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Registered Capacity (kW) |  |  |  |  |  |  |  |  |
| Declaration – to be completed by Installer for Generating Units tested to EREC G98 or EREC G99. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| I declare that the relevant Generating Units and the installation which together form a Power Generating Module at the above address, conform to the requirements of EREC G99. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Signature: |  |  | Date: |  |  |  |  |  |  |  |  |  |  |

* Intrinsic Design Capacity is the basic design capacity of the Generating Unit (and will be the value of Registered Capacity in the ENA’s Type Test Register). For SGI-1, where the Registered Capacity is limited and is less than the Intrinsic Design Capacity, both values should be recorded here.

Table 1

|  | Energy Source |
| --- | --- |
| A | Advanced Fuel (produced via gasification or pyrolysis of biofuel or waste) |
| B | Biofuel - Biogas from anaerobic digestion (excluding landfill & sewage) |
| C | Biofuel - Landfill gas |
| D | Biofuel - Sewage gas |
| E | Biofuel - Other |
| F | Biomass |
| G | Fossil - Brown coal/lignite |
| H | Fossil - Coal gas |
| I | Fossil - Gas |
| J | Fossil - Hard coal |
| K | Fossil – Oil |
| L | Fossil - Oil shale |
| M | Fossil - Peat |
| N | Fossil - Other |
| O | Geothermal |
| P | Hydrogen |
| Q | Nuclear |
| R | Solar |
| S | Stored Energy (all stored energy irrespective of the original energy source) |
| T | Waste |
| U | Water (flowing water or head of water) |
| V | Wind |
| W | Other |

Table 2

|  | Energy Conversion Technology |
| --- | --- |
| 1 | Engine (combustion / reciprocating) |
| 2 | Fuel Cell |
| 3 | Gas turbine (OCGT) |
| 4 | Geothermal power plant |
| 5 | Hydro - Reservoir (not pumped) |
| 6 | Hydro - Run of river |
| 7 | Hydro - Other |
| 8 | Interconnector |
| 9 | Offshore wind turbines |
| 10 | Onshore wind turbines |
| 11 | Photovoltaic |
| 12 | Steam turbine (thermal power plant) |
| 13 | Steam-gas turbine (CCGT) |
| 14 | Tidal lagoons |
| 15 | Tidal stream devices |
| 16 | Wave devices |
| 17 | Storage - Chemical - Ammonia |
| 18 | Storage - Chemical - Hydrogen |
| 19 | Storage - Chemical - Synthetic Fuels |
| 20 | Storage - Chemical - Drop-in Fuels |
| 21 | Storage - Chemical - Methanol |
| 22 | Storage - Chemical - Synthetic Natural Gas |
| 23 | Storage - Electrical - Supercapacitors |
| 24 | Storage - Electrical - Superconducting Magnetic ES (SMES) |
| 25 | Storage - Mechanical - Adiabatic Compressed Air |
| 26 | Storage - Mechanical - Diabatic Compressed Air |
| 27 | Storage - Mechanical - Liquid Air Energy Storage |
| 28 | Storage - Mechanical - Pumped Hydro |
| 29 | Storage - Mechanical - Flywheels |
| 30 | Not used |
| 31 | Not used |
| 32 | Not used |
| 33 | Storage - Electrochemical Classic Batteries -Lead Acid |
| 34 | Storage - Electrochemical Classic Batteries -Lithium Polymer (Li-Polymer) |
| 35 | Storage - Electrochemical Classic Batteries -Metal Air |
| 36 | Storage - Electrochemical Classic Batteries -Nickle Cadmium (Ni-Cd) |
| 37 | Storage - Electrochemical Classic Batteries -Sodium Nickle Chloride (Na-NiCl2) |
| 38 | Storage - Electrochemical Classic Batteries -Lithium Ion (Li–ion) |
| 39 | Storage - Electrochemical Classic Batteries -Sodium Ion (Na–ion) |
| 40 | Storage - Electrochemical Classic Batteries -Lithium Sulphur (Li-S) |
| 41 | Storage - Electrochemical Classic Batteries -Sodium Sulphur (Na-S |
| 42 | Storage - Electrochemical Classic Batteries -Nickle –Metal Hydride (Ni-MH) |
| 43 | Storage - Electrochemical Flow Batteries - Vanadium Red-Oxide |
| 44 | Storage - Electrochemical Flow Batteries - Zinc – Iron (Zn –Fe) |
| 45 | Storage - Electrochemical Flow Batteries - Zinc – Bromine (Zn –Br) |
| 46 | Storage - Other |
| 47 | Other |