| ## Form A3-4: Installation Document for Type A Power Generating Modules where the output is shared between two or more Customers The Generator (ie the owner of the Power Generating Module(s)) must complete and provide this document for every Power Generating Facility were the output of one or more Power Generating Modules is shared between separate Customers. Part 1 shall be completed for the Power Generating Facility. Part 2 shall be completed for each of the Power Generating Modules being commissioned. Where the installation is phased the form should be completed on a per Generating Unit basis as each part of the installation is completed in accordance with EREC G99 paragraph 15.3.3. For phased installations reference to PGM in this form should be read as reference to Generating Units. Part 3 shall be completed, giving the address and MPAN of each Customer who has a connection to the Generator’s Installation. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Form A3-4 Part 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| To ABC electricity distribution DNO 99 West St, Imaginary Town, ZZ99 9AA abced@wxyz.com |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Generator Details: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Generator (name) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Post Code |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Contact person (if different from Generator) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Telephone number |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| E-mail address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MPAN(s) (if applicable) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Generator signature |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Installer Details: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Installer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Accreditation / Qualification |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Post Code |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Contact person |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Telephone Number |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| E-mail address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Installer signature |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Installation details: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Post code |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Location within Generator’s Installation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Location of Lockable Isolation Switches |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Summary details of Power Generating Modules - where multiple Power Generating Modules will exist within one Generator’s Installation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Manufacturer / Reference | Date of Installation |  |  | Energy source and conversion technology (enter codes from tables 1 & 2 below) |  | Manufacturers Ref No. (system reference) or Reference to Form A2-1/2/3 or combination of above as applicable |  | Power Generating Module Registered Capacity in kW |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 3-Phase Units |  | Single Phase Units |  |  |  |  | Power Factor |
|  |  |  |  | Src | Tech |  |  |  |  | PH1 |  |  | PH2 | PH3 |  |
| Emerging technology classification (if applicable) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Commissioning Checks (in addition to the standard checks for the PGM(s)) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Description |  |  |  |  |  |  |  |  |  |  |  | Confirmation |  |  |  |
| Confirm that a specific bilateral agreement between the Generator and the DNO is in place |  |  |  |  |  |  |  |  |  |  |  | Yes/No* |  |  |  |
| Generator’s Installation satisfies the requirements of BS7671 (IET Wiring Regulations). |  |  |  |  |  |  |  |  |  |  |  | Yes / No* |  |  |  |
| Suitable lockable points of isolation have been provided between the PGMs, the rest of the Generator’s Installation and all Customers’ Installations. |  |  |  |  |  |  |  |  |  |  |  | Yes / No* |  |  |  |
| Labels have been installed at all points of isolation in accordance with EREC G99. |  |  |  |  |  |  |  |  |  |  |  | Yes / No* |  |  |  |
| Labels have been installed in all Customers Installations warning of the external source of electrical energy connected, and that single line diagrams are posted in the Generator’s Installation and at the service position of each Customer. |  |  |  |  |  |  |  |  |  |  |  | Yes / No* |  |  |  |
| Interlocking that prevents PGMs being connected in parallel with the DNO’s Distribution Network (without synchronising) is in place and operates correctly. |  |  |  |  |  |  |  |  |  |  |  | Yes / No* |  |  |  |
| Confirmation that Active Power cannot flow from each and every Customer’s Installation towards the PGM (except where permitted by 5.3 and 5.4) |  |  |  |  |  |  |  |  |  |  |  | Yes / No* |  |  |  |
| The equipment/installation has been designed such that all protection in each Customers’ Installation and the Generator’s Installation operates correctly by design for faults anywhere on the Generator’s and Customers’ Installations. |  |  |  |  |  |  |  |  |  |  |  | Yes / No* |  |  |  |
| Synchronizing facilities/checks exist that check for correct phasing each and every time a Customer’s Installation is connected to and/or energized from the Generator’s Installation. |  |  |  |  |  |  |  |  |  |  |  | Yes / No* |  |  |  |
| Balance of multiple single phase PGMs. Confirm that design of the Generator’s Installation has been carried out to limit output power imbalance to below [32] A per phase, as required by EREC G99. |  |  |  |  |  |  |  |  |  |  |  | Yes / No* |  |  |  |
| Active Power export balance from all Customers has been agreed with DNO? |  |  |  |  |  |  |  |  |  |  |  | Yes / No* |  |  |  |
| Confirmation that if Electricity Storage is included in the Power Generating Module that a mismatch between the Electricity Storage import and the aggregate Active Power flows from the Generator’s Installation and Customers’ Installations triggers the appropriate response and an alarm. |  |  |  |  |  |  |  |  |  |  |  | Yes / No* |  |  |  |
| Confirmation that any loss of communication path triggers the correct response and alarm from the sharing system. |  |  |  |  |  |  |  |  |  |  |  | Yes / No* |  |  |  |
| PGM installation complies with cyber security requirements |  |  |  |  |  |  |  |  |  |  |  | Yes / No* |  |  |  |
| Confirmation that the alarm operates as intended and alerts the Generator to the alarm condition. |  |  |  |  |  |  |  |  |  |  |  | Yes / No* |  |  |  |
| Form A3-4 Part 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Power Generating Module reference or name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Information to be enclosed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Description |  |  |  |  |  |  |  |  |  |  | Confirmation * |  |  |  |  |
| Schedule of protection settings (may be included in circuit diagram) |  |  |  |  |  |  |  |  |  |  | Yes / No* |  |  |  |  |
| As installed Standard Application Form data, unless already provided. |  |  |  |  |  |  |  |  |  |  | Yes / No* |  |  |  |  |
| Final copy of circuit diagram |  |  |  |  |  |  |  |  |  |  | Yes / No* |  |  |  |  |
| Commissioning Checks |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| The Interface Protection settings have been checked and comply with EREC G99. |  |  |  |  |  |  |  |  |  |  | Yes / No / N/A (Type Tested)* |  |  |  |  |
| The PGM successfully synchronises with the DNO’s Distribution Network without causing significant voltage disturbance. |  |  |  |  |  |  |  |  |  |  | Yes / No* |  |  |  |  |
| The PGM successfully runs in parallel with the DNO’s Distribution Network without tripping and without causing significant voltage disturbances. |  |  |  |  |  |  |  |  |  |  | Yes / No* |  |  |  |  |
| The PGM successfully disconnects without causing a significant voltage disturbance, when it is shut down. |  |  |  |  |  |  |  |  |  |  | Yes / No* |  |  |  |  |
| Interface Protection operates and disconnects the DNO’s Distribution Network quickly (within 1 s) when a suitably rated switch, located between the PGM and the DNO’s incoming connection, is opened. |  |  |  |  |  |  |  |  |  |  | Yes / No* |  |  |  |  |
| The PGM remains disconnected for at least 20 s after switch is reclosed. |  |  |  |  |  |  |  |  |  |  | Yes / No* |  |  |  |  |
| Loss of tripping and auxiliary supplies. Where applicable, loss of supplies to tripping and protection relays results in either PGM or Generating Unit forced trip or an alarm to a 24 hour manned control centre. |  |  |  |  |  |  |  |  |  |  | Yes / No* |  |  |  |  |
| *Circle as appropriate. If “No” is selected the Power Generating Facility is deemed to have failed the commissioning tests and the Power Generating Module shall not be put in service. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Additional comments / observations: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Form A3-4 Part 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Customer |  | MPAN |  | Address |  |  |  |  |  |  |  |  |  |  |  |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Please extend on a separate sheet for additional Customers supplied by the Generator. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Declaration – to be completed by Generator or Generator’s Appointed Technical Representative |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| I declare that for the Type A Power Generating Module within the scope of this EREC G99, and the installation: 1. Compliance with the requirements of EREC G99 is achieved. 2. The commissioning checks detailed in Form A2-4 have been successfully completed*. 3. The commissioning checks detailed in this Form A3-1 have been successfully completed. *delete if not applicable ie if the Interface Protection and ride through capabilities are Type Tested. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Name: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Signature: |  |  |  |  |  |  |  |  | Date: |  |  |  |  |  |  |
| Company Name: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Position: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Declaration – to be completed by DNO Witnessing Representative if applicable. Delete if not witnessed by the DNO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| I confirm that I have witnessed: 1. The commissioning checks detailed in Form A2-4 *; 2. The commissioning checks detailed in this Form A3-1 on behalf of and that the results are an accurate record of the checks. *delete if not applicable i.e. if the Interface Protection and ride through capabilities are Type Tested |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Name: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Signature: |  |  |  |  |  |  |  |  | Date: |  |  |  |  |  |  |
| Company Name: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |