## Guidance
CT / VT Request & Test Results
Document Overview
This document consists of three Forms: - Form A: CT/VT Metering Request - Form B : LV Metering Ratio & Polarity Test Results - Form C : HV/EHV Metering Ratio & Polarity Test Results The Designer must complete as much detail as possible within Form A prior to Delivery handover. The Delivery Project Manager must review and complete Form A prior to passing to the Field Operatives (SP Dataserve or Internal Team). It should be noted that selecting the Voltage Level in Form A will determine whether Form B or Form C should becompleted by Field Operatives. Applicable information completed in Form A will transfer into Form B or Form C. Form B or Form C should be completed and returned by Field Operatives in line with the agreed process.
Form A - Guidance
Contact Details Section
SPEN Notification No.
The SPEN Notification Number associated with the Project should be added
SPEN Delivery PM Name
The Name of the SPEN Delivery PM responsible for the Project should be added
SPEN Delivery PM Phone No.
The Phone Number of the SPEN Delivery PM responsible for the Project should be added
SPEN Delivery PM email Address
The email address of the SPEN Delivery PM responsible for the Project should be added
SPEN District
The District where the Projecti s located should be added
Customer Contact Details
This section should be completed with all applicable Customer Contact Details
Site Contact Details
This section should be completed with all applicable Site Contact Details. The information within Customer Contact can be copied into Site Contact using the Copy Buttons
Supply Details Section
Supply Number (MPAN)
The MPAN (13 digit number) associated with the supply should be added
Date Required
The date of the planned supply works should be added
Appointed Meter Supplier
The name of the Appointed Meter Supplier should be added
Appointed Meter Operator
The name of the Appointed Meter Operator should be added
Supply Capacity
The Supply Capacity should be added
Number of Feeders
The Number of Feeders associated with the supply should be added (defaulted to 1)
Agreed Site Capacity
The Agreed Site Capacity should be added. This value cannot be greater than the Supply Capacity
Feeder ID (From UMV)
The Feeder ID must be added. The applicable Feeder ID is taken from UMV
Voltage Level
The Voltage Level should be selected from the drop down list (LV, HV or EHV)
Number of Phases
The Number of Phases should be selected from the drop down list (1, 2 or 3)
Panel Type
The Panel Type should be selected from the drop down list (Network (Connected Load), Remote (Substation Connected Load), Existing or Other)
Job Type
The Job Type should be selected from the drop down list (New Connection, Add. Load, Relocation or Other)
CT Location
The CT Location should selected from the drop down list (Customer Switchgear, SPEN Switchgear, Panel or Other)
Proposed CT Ratio
The Proposed CT Ratio should be added
VT Required (Yes or No)
Either Yes or No should be selected from the drop down list
Proposed VT Ratio (if required)
The Proposed VT Ratio should be added (if required)
Additional Information
Further relevant information can be added

## Form A
CT/VT Metering Request
Contact Details |  |  |  |  | Section A |  |  | Section A | [5 empty] | Filter
| SPEN Notification Number | SPEN Delivery PM Name |  |  | 1 | Incomplete | Incomplete | 1 | 0 | 0 | 1 | 0 | 0 | None
| SPEN Delivery PM Phone No. | SPEN Delivery PM email Address |  |  | 2 | Incomplete | Incomplete | 2 | 0 | 0 | 2 | 0 | 0
SPEN District
| Customer Contact Name | Site Contact Name |  |  | 3 | Incomplete | Incomplete | 3 | 0 | 0 | 3 | 0 | 0
| Customer Company Name | Site Contact Company Name |  |  | 4 | Incomplete | Incomplete | 4 | 0 | 0 | 4 | 0 | 0
| Customer Correspondence Address | Site Address |  |  | 5 | Incomplete | Incomplete | 5 | 0 | 0 | 5 | 0 | 0
6
| Postcode | Postcode |  |  | 7
| Customer Contact Phone No. | Site Contact Phone No. |  |  | 8 | Incomplete | Incomplete | 8 | 0 | 0 | 8 | 0 | 0
| Customer email Address | Site Contact email Address |  |  | 9 | Incomplete |  | 9 | 0 | 0
Supply Details |  |  |  |  | Section B |  |  | Section B
| Supply Number (MPAN) | Date Required |  |  | 10 | Incomplete | Incomplete | 10 | 0 | 0 | 10 | 0 | 0 | None
| Appointed Meter Supplier | Appointed Meter Operator |  |  | 11 | Incomplete | Incomplete | 11 | 0 | 0
| Supply Capacity | Number of Feeders (Defaulted to 1) | 1
| Agreed Site Capacity | Feeder ID (from UMV) |  |  | 14 | Incomplete | Incomplete | 13 | 0 | 0 | 13 | 0 | 0
| Voltage Level | Number of Phases (Defaulted to 3) | 3 |  | 15 | Incomplete | OK | 14 | 0 | 0 | 14 | 1 | 1
| Panel Type | Job Type |  |  | 16 | Incomplete | Incomplete | 15 | 0 | 0 | 15 | 0 | 0 | None
| CT Location | Proposed CT Ratio |  | / | 17 | Incomplete | Incomplete | 16 | 0 | 0 | 16 | 0 | 0
| VT Required (Yes or No) | Proposed VT Ratio (If required) |  | /
| P.M.E. to be provided? (Yes or No) | P.M.E. to be connected? (Yes or No)
Additional Information
QUAL-12-750
Issue 5
Form A

## Form B (LV)
LV Metering Ratio & Polarity Test Results
Customer Details | [15 empty] | Section A |  |  | Section A | [5 empty] | Filter
| SPEN Notification Number | [6 empty] | Supply Number (MPAN) | [7 empty] | 4 | Incomplete | Incomplete | 4 | 1 | 1 | 4 | 1 | 1
Export MPAN
| Customer Company Name | [6 empty] | Number of Feeders |  | 1 | [5 empty] | 5 | Incomplete | Incomplete | 5 | 1 | 1 | 5 | 1 | 1
| Site Address | [6 empty] | Feeder ID (from UMV) | [7 empty] | 6 | Incomplete | Incomplete | 4 | 1 | 1 | 4 | 1 | 1
[8 empty] | Number of Phases |  | 3 | [5 empty] | 7 | Incomplete | Incomplete | 4 | 1 | 1 | 4 | 1 | 1
| Postcode | [6 empty] | Code of Practice | [9 empty] | Incomplete
Supply Details | [15 empty] | Section B |  |  | Section B
| CT Location | [6 empty] | CT at Defined Metering Point? (Yes or No) | [7 empty] | 10 | OK | Incomplete | 10 | 1 | 1 | 10 | 0 | 0 | None
| CT Make | [6 empty] | CT Class | [7 empty] | 11 | Incomplete | Incomplete | 11 | 0 | 0
| CT Rating (VA) | [6 empty] | CT Ratio |  |  |  |  | / |  |  | 12 | Incomplete | Incomplete | 12 | 0 | 0
Burden on CT (VA)
| CT 1 Serial Number | [6 empty] | Polarity Correct? (Yes or No)
| CT 2 Serial Number | [6 empty] | Phase Rotation at TTB
| CT 3 Serial Number | [6 empty] | CT Shorting Links Closed? (Yes or No)
| Primary Injection Test Results | Ph | Primary Amps Injected | Secondary Amps Measured |  | Secondary Amps at Meter Panel |  | Secondary Wiring Selected | Phase |  | Ferrule No. |  |  | Multicore No. | Panel Connections
|  | L1 | [6 empty] | L1 - S1
|  | L2 | [6 empty] | L1 - S2
|  | L3 | [6 empty] | L2 - S1
L2 - S2
| Connected CT Burden Results | Ph | CT Loop Resistance (ohms) |  | Maximum Burden (VA) |  |  |  | L3 - S1
|  | L1 | [6 empty] | L3 - S2
|  | L2 | [6 empty] | L1 Volts
|  | L3 | [6 empty] | L2 Volts
L3 Volts
Neutral
Length of Multicore
Type of Multicore
Confirmation of Completion | [15 empty] | Section B |  |  | Section B
| Tested By | [5 empty] | Witnessed By |  |  |  |  | Date
QUAL-12-750
Issue 5
Form B

## Form C (HV)
HV Metering Ratio & Polarity Test Results
Customer Details | [17 empty] | Section A |  |  | Section A | [5 empty] | Filter
| SPEN Notification Number | [7 empty] | Supply Number (MPAN) | [8 empty] | 4 | Incomplete | Incomplete | 4 | 1 | 1 | 4 | 1 | 1
Export MPAN
| Customer Company Name | [7 empty] | Number of Feeders |  | 1 | [6 empty] | 5 | Incomplete | Incomplete | 5 | 1 | 1 | 5 | 1 | 1
| Site Address | [7 empty] | Feeder ID (from UMV) | [8 empty] | 6 | Incomplete | Incomplete | 4 | 1 | 1 | 4 | 1 | 1
[9 empty] | Number of Phases |  | 3 | [6 empty] | 7 | Incomplete | Incomplete | 4 | 1 | 1 | 4 | 1 | 1
| Postcode | [7 empty] | Code of Practice | [10 empty] | Incomplete
Supply Details | [17 empty] | Section B |  |  | Section B
| CT Location | [7 empty] | CT at Defined Metering Point? (Yes or No)
| CT Make | [7 empty] | CT Class
| CT Rating (VA) | [7 empty] | CT Ratio | [5 empty] | /
Burden on CT (VA)
| CT L1 Serial Number | [7 empty] | Polarity Correct? (Yes or No)
| CT L3 Serial Number | [7 empty] | Phase Rotation at TTB
CT Shorting Links Closed? (Yes or No)
| VT Make | [7 empty] | VT Rating (VA) | [8 empty] | 10 | OK | Incomplete | 10 | 1 | 1 | 10 | 0 | 0 | None
| VT Class | [7 empty] | Burden on VT (VA)
[9 empty] | VT Ratio | [5 empty] | / |  |  | 11 | Incomplete | Incomplete | 11 | 0 | 0
| VT 1 Serial Number | [7 empty] | VT Unit Serial Number
VT 2 Serial Number
VT 3 Serial Number
HV Metering Ratio & Polarity Test Results (Cont)
Supply Details (cont) | [17 empty] | Section B |  |  | Section B
| L1 CT Polarity Test | Ph | Ferrule Number |  |  | Polarity |  |  | Secondary Wiring Selected | Phase |  |  | Ferrule No. |  |  | Multicore No. | Panel Connections
|  | S1 | [7 empty] | L1 - S1
|  | S2 | [7 empty] | L1 - S2
|  | S3 | [7 empty] | L1 - S3
L3 - S1
| L3 CT Polarity Test | Ph | Ferrule Number |  |  | Polarity |  |  |  | L3 - S1
|  | S1 | [7 empty] | L3 - S3
|  | S2 | [7 empty] | L1 Volts
|  | S3 | [7 empty] | L2 Volts
L3 Volts
| CT Primary Injection Test Results | Ph |  | Primary Amps Injected | Secondary Amps Measured |  | Secondary Amps at Meter Panel |  |  | Length of Multicore
|  | L1-L2 | [7 empty] | Type of Multicore
L2-L3
| CT Connected Burden Results | Ph | CT Loop Resistance (ohms) |  |  | Maximum Burden (VA)
L1
L3
| VT Primary Injection Test Results | Ph |  | Primary Volts Injected | Secondary Volts Measured (High) |  | Secondary Volts Measured (Low) |  | VT Connected Burden Results | Ph |  | Connected Burden (VA)
|  | L1-L2 | [7 empty] | L1-L2
|  | L2-L3 | [7 empty] | L2-L3
Confirmation of Completion | [17 empty] | Section B |  |  | Section B
| Tested By | [6 empty] | Witnessed By | [5 empty] | Date
QUAL-12-750
Issue 5
Form C
QUAL-12-750
Issue 5
Form C